- Introduction

PAM is a management tool developed by the Department of Health (DH) to provide a nationally consistent approach to evaluate NHS premises performance against a set of common indicators. It delivers a basis for:

‐ assurance on the premises in which NHS healthcare is delivered

‐ driving premises-related performance improvements throughout the system

It is designed to be used locally by NHS organisations for Board reporting, and externally to provide assurance to Regulators and Commissioners.   It is envisaged that the assessment will be undertaken on an on-going annual basis with the results forming part of an annual estates and facilities report to the Board. Currently PAM is voluntary, but the DH is considering for it to become a mandatory requirement.

The NHS PAM has two distinct but complimentary parts

Part One - Self-assessment questions (SAQs) supporting quality and safety compliance; covered across 5 Domains

- Effectiveness

- Efficiency

- Patient Experience

- Safety

- Organisational Governance

Each domain is underpinned by prompt sheets.  The prompt sheets focus on specific legislation and/or DH estate guidance.

Part Two - Metrics: supporting efficient use of the estate

- NHS PAM Metrics use the following data collected from the NHS to allow comparison between peer NHS organisations allowing areas of strengths and weakness to be identified

- Estates Return Information Collection

- Health Episode Statistics (HES)

- In-patient Survey

- Patient Led Assessment of the Care Environment (PLACE)

- Friends and Family Test Data

- CQC Ratings

- NHS National Staff Survey

This report focusses on part one.

- Assessment

The Estates and Facilities Directorate have completed the self-assessment.  The assessment process is based on a 5 point scale which is illustrated on the table below.

| 5 | 4 | 3 | 2 | 1 |
| --- | --- | --- | --- | --- |
| Inadequate | Require moderate improvement | Requires minimal improvement | Good | Outstanding |

There is also a not applicable option.

As the self-assessment was undertaken, evidence was identified to support the scoring and agreed actions.  An action plan has been developed to address areas where improvement is required.

The results of the self-assessment are detailed in the following graphs 1 to 8.

Graph 1 illustrates the distribution of Effectiveness prompt questions (%) (Need to insert your own graph)

Table 1 details the self-assessment questions relating to Effectiveness

| SAQ code | Effectiveness Self-Assessment Question - Does your Organisation/site: |
| --- | --- |
| E1 | Participate in the development of regional and local planning policy, and planning applications, where these affect the demand for healthcare services? |
| E2 | Have an estate strategy that is reviewed annually and integrated with relevant local, national and organisational clinical/service development plans? |
| E3 | Have a well-managed robust approach to the acquisition and disposals of freehold and leasehold land and premises and ensures surplus land and premises are proactively disposed of? |
| E4 | Have a well-managed robust approach to the management of land and property? |
| E5 | Have effective transport and access arrangements? |
| E6 | Have a well-managed annually updated board approved sustainable development management plan? |

Graph 2 illustrates the distribution of Efficiency prompt questions (%) (Need to insert your own graph)

Table 2 details the self-assessment questions relating to Efficiency

| SAQ code | Efficiency Self-Assessment Question - Does your Organisation/site have a well-managed approach to achieving value for money and cost improvements in relation to: |
| --- | --- |
| F1 | The procurement of estates and facilities goods and services? |
| F2 | Estates and facilities services operating costs? |
| F3 | The efficient utilisation of its estate (space utilisation) and facilities? |
| F4 | The procurement and management of its capital investment and disinvestment plans and processes? |
| F5 | Does your Organisation/site have well-managed and robust financial controls, procedures and reporting relating to estates and facilities services? |

Graph 3 illustrates the distribution of Patient Experience prompt questions (%) (Need to insert your own graph)

Table 3 details the self-assessment questions relating to Patient Experience

| SAQ code | Patient Experience Self-Assessment Question - Does your organisation: |
| --- | --- |
| PE1 | Involve patients, the public and Commissioners in shaping estates and facilities services, as well as gathering and using their experiences of estates and facilities services? |
| PE2 | Ensure that patients, staff and visitors perceive that the condition, appearance, maintenance and privacy and dignity of the estate is satisfactory? |
| PE3 | Ensure that patients, staff and visitors perceive cleanliness to be satisfactory? |
| PE4 | Ensure that NHS Catering Services provide adequate nutrition and hydration through the choice of food and drink for people to meet their diverse needs? |
| PE5 | Ensure that access and car parking arrangements meet the reasonable needs of patients, staff and visitors and are effectively managed at all times? |
| PE6 | Ensures that safe, effective Portering Services are provided that meet the needs of patients and the organisation, consistent with all relevant guidance and legislation? |
| PE7 | Ensure that the Telephony & Switchboard service is provided efficiently, professionally and courteously within agreed target response times? |

Graph 4 illustrates the distribution of Safety prompt questions (%) (Need to insert your own graph)

Table 4 details the self-assessment questions relating to Safety

| SAQ code | Safety Self-Assessment Question - Is the Organisation/site safe and compliant with well managed systems in relation to: |
| --- | --- |
| S1 | Asset Management and Maintenance |
| S2 | The Design and Layout of Premises |
| S3 | Health & Safety at Work |
| S4 | Catering Services |
| S5 | Asbestos |
| S6 | Medical Gas Systems |
| S7 | Natural Gas and Other Non-Medical Piped Gas Systems |
| S8 | Water Systems |
| S9 | Electrical Systems |
| S10 | Mechanical Systems (e.g. Lifting Equipment) |
| S11 | Ventilation Systems |
| S12 | Lifts |
| S13 | Pressure Systems |
| S14 | Decontamination Processes |
| S15 | Fire Safety |
| S16 | Waste Management |
| S17 | Cleanliness and Infection Control applying to Premises and Facilities |
| S18 | Laundry and Linen Services |
| S19 | Medical Devices and Equipment |
| S20 | Security Management |
| S21 | Resilience, Emergency and Contingency Planning |
| S22 | Transport Services |
| S23 | Pest Control |
| S24 | Premises and Equipment issues identified in all relevant Safety-Related Reporting Systems (e.g. 'never events', MHRA, DH and NHS England safety reporting systems) |
| S25 | Contractor Management |
| S26 | Undertaking New Build and Refurbishment Works |
| S27 | Safety and Suitability of Premises and Services, when the organisation is not responsible for the premises in which the care, treatment and support is delivered |

Graph 8 illustrates the distribution of Organisational Governance prompt questions (%)  (Need to insert your own graph)

Table 5 details the self-assessment questions relating to Organisational Governance

| SAQ code | Organisational Governance Self-Assessment Question - Does your organisation: |
| --- | --- |
| OG1 | Ensure its Estates and Facilities staff and functions are embedded in its vision and culture and that they are focused on patient care and engagement with patients, their carers and staff? |
| OG2 | Have in place a governance framework for all aspects of Estates and Facilities functions that is transparent, coherent, complete, clear, well understood and fully functioning? |
| OG3 | Is there a clear and well-functioning system of Estates and Facilities accountability where individuals understand their responsibilities and are able to effectively account for their decisions, actions, behaviours and performance against objectives? |
| OG4 | Have an effective estates and facilities risk management strategy that integrates within the overall clinical, financial and organisational risk management strategy and gives assurance that Estates and Facilities risks are being identified, proactively controlled and mitigated? |
| OG5 | Have a clearly defined Board approved Estates and Facilities strategy that is aligned to clinical and service strategy which is focussed on patient care? |
| OG6 | Ensure that the Estates and Facilities leadership within the organisation is effective, visible and is maintained and developed? |
| OG7 | Ensure that the Board has access to professional advice on all matters relating to Estates and Facilities assurance and linked to Regulators and Inspectors requirements? |

- Action Plan

(Need to insert your own figures)

The Trust-wide action plan (see appendix 1) contains 33 areas for improvement across the following four domains:

- Effectiveness - 11

- Efficiency - 0

- Patient Experience - 6

- Safety - 64

- Organisational Governance - 6

The actions have been allocated a responsible officer and a target date for completion.

- Recommendations

Committee (Need to insert name of committee) are asked receive and note the content of this report and comment accordingly.

It is recommended that

- Progress with implementation of the action plans for each of the sites is monitored by the Estates and Facilities (E&F) Governance and Compliance (G&C) Group.

- Progress against the actions plans will be detailed in the Estates and Facilities Governance and Compliance report and the relevant domains will be reported at the sub meetings of the Quality and Healthcare Governance Committee.

Prepared by

Appendix 1

The following is an example action plan

Domain: Effectiveness

| SAQ | Action | Lead | Assessment Rating | Target Date for Completion |
| --- | --- | --- | --- | --- |
| E2 | Have in place an estate strategy that is reviewed annually and integrated with relevant local, national and organisational clinical/service development plans |
|  | Develop and implement an estate strategy for CDDFT | Director of Estates and Facilities |  | End September 2015 |
| E3 | Have in place a well-managed robust approach to the acquisition and disposals of freehold and leasehold land and premises and ensures surplus land and premises are proactively disposed of |
|  | Policy and Procedures: Develop an overarching Estates Management Strategy to incorporate the acquisition and disposals of freehold and leasehold land and the correct disposal of surplus land | Associate Director of Estates |  | End September 2015 |
|  | Develop and implement operational procedures to underpin Estates Management Strategy to ensure a well-managed robust approach to the acquisition and disposals of freehold and leasehold land and premises and surplus land and premises are proactively disposed of |  |  |  |
|  | Statutory Requirements and Guidance: Undertake a review of all relevant Statutory requirements and guidance | Associate Director of Estates |  | End March 2015 |
|  | Introduce a standardised process to ensure risk assessments are undertaken and any necessary risk mitigation strategies are implemented Introduce a process to ensure a regular review are undertaken |  |  |  |
|  | Review Process: Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures | Associate Director of Estates |  | End September 2015 |

| SAQ | Action | Lead | Assessment Rating | Target Date for Completion |
| --- | --- | --- | --- | --- |
| E4 | Have a well-managed robust approach to the management of land and property |
|  | Policy and Procedures: Develop an overarching Estates Management Strategy to incorporate the management of land and property | Associate Director of Estates |  | End September 2015 |
|  | Develop and implement operational procedures to underpin Estates Management Strategy to ensure robust approach to the management of land and property |  |  |  |
|  | Statutory Requirements and Guidance: Undertake a review of all relevant Statutory requirements and guidance | Associate Director of Estates |  | End March 2015 |
|  | Introduce a standardised process to ensure risk assessments are undertaken and any necessary risk mitigation strategies are implemented Introduce a process to ensure a regular review is undertaken |  |  |  |
|  | Review Process: Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures | Associate Director of Estates |  | End December 2015 |

| SAQ | Action | Lead | Assessment Rating | Target Date for Completion |
| --- | --- | --- | --- | --- |
| E5 | Have effective transport and access arrangements in place |
|  | Appropriate road markings to ensure the safe running of the site, all markings to be in good repair 90% of the work has been completed, the final phase is underway and due for completion by | Associate Director of Estates |  | End April 2015 |

| SAQ | Action | Lead | Assessment Rating | Target Date for Completion |
| --- | --- | --- | --- | --- |
| E6 | Have a well-managed annually updated board approved sustainable development management plan |
|  | Policy and Procedures: Develop an overarching Estates Management Strategy to incorporate sustainable development management plan | Associate Director of Estates |  | End September 2015 |
|  | Develop and implement operational procedures to underpin Estates Management Strategy to ensure robust approach to the delivery of a sustainable development management plan |  |  |  |
|  | Review Process: Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures | Associate Director of Estates |  | End December 2015 |

Domain: Patient Experience

| SAQ | Action | Lead | Assessment Rating | Target Date for Completion |
| --- | --- | --- | --- | --- |
| P4 | Quality of Catering Services Ensure that NHS Catering Services provide adequate nutrition and hydration through the choice of food and drink for people to meet their diverse needs |
|  | Patients have accessible information about meals and the arrangements for mealtimes, access to snacks and drinks throughout the day and night and to have mealtimes that are reasonably spaced and at appropriate times Produce a bedside leaflet for to provide patients with accessible information about meals and the arrangements for mealtimes, access to snacks and drinks throughout the day and night | Associate Director of Facilities |  | End April 2015 |
|  | Compliance with the Council of Europe '6 of the 10’ Key characteristics for good nutritional care Liaise with Dietitians to review the 6 characteristics for good nutritional care That relate to the services provided by the Dietetic team | Associate Director of Facilities |  | End March 2015 |
|  | Implemented or working towards the standards set out in the Hospital Caterers Association publication: Food and Beverage Service Standards Undertake a gap analysis to identify any gaps in the current offering from which an action plan will be developed. | Associate Director of Facilities |  | End September 2015 |

| SAQ | Action | Lead | Assessment Rating | Target Date for Completion |
| --- | --- | --- | --- | --- |
| P6 | Ensures that safe, effective Portering Services are provided that meet the needs of patients and the organisation, consistent with all relevant guidance and legislation |
|  | Policy and Procedures: Develop and implement Portering Services Policy as an overarching document for the existing Portering procedures | Associate Director of Facilities |  | End June 2015 |

| SAQ | Action | Lead | Assessment Rating | Target Date for Completion |
| --- | --- | --- | --- | --- |
| P7 | Ensure that the Telephony & Switchboard service is provided efficiently, professionally and courteously within agreed target response times |
|  | Policy and Procedures: Update Telephony & Switchboard Service Policy | Associate Director of Facilities |  | End September 2015 |
|  | Resilience, Emergency & Contingency Planning: Implement the actions from the findings in relation to the BCP exercise | Associate Director of Facilities |  | End September 2015 |

Domain: Organisational Governance

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| OG5 | Have a clearly defined Board approved Estates and Facilities strategy that is aligned to clinical and service strategy which is focussed on patient care |
|  | Estates and Facilities strategy to identify the current clinical service baseline position | Director of Estates and Facilities |  | End September 2015 |
|  | Estates and Facilities strategy to comprehensively identify the current Estates and Facilities baseline position e.g. physical condition, statutory compliance, functional suitability, space utilisation, quality, environmental and risk | Director of Estates and Facilities |  | End September 2015 |
|  | Estates and Facilities strategy to make reference to the future service model | Director of Estates and Facilities |  | End September 2015 |
|  | Estates and Facilities strategy to identify the future estates and facilities model and how this will be integrated with the service model | Director of Estates and Facilities |  | End September 2015 |
|  | Estates and Facilities strategy to identify the preferred option for estates and facilities change and how this will be achieved | Director of Estates and Facilities |  | End September 2015 |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| OG6 | Ensure that the Estates and Facilities leadership within the organisation is effective, visible and is maintained and developed |
|  | Board development programme that includes Estate and Facilities in place for Governors and non-executive directors | Director of Estates and Facilities |  | End September 2015 |

Appendix 2

Domain: Safety

| SAQ | Action | Lead | Assessment Rating | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S1 | Safe and compliant with well managed systems in relation to: Asset Management and Maintenance |
|  | Policy and Procedures: Develop and implement Asset Management and Maintenance Policy | TBC |  | TBC |
|  | Develop and implement Procedures | TBC |  | TBC |

| SAQ | Action | Lead | Assessment Rating | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S2 | Safe and compliant with well-managed systems in relation to: the Design and Layout of Premises |
|  | Policy and Procedures: Develop an overarching Estates Management Strategy to incorporate the Design and Layout of Premises | Associate Director of Estates |  | End September 2015 |
|  | Develop and implement operational procedures to underpin Estates Management Strategy in relation to Design and Layout of Premises |  |  | End December 2015 |
|  | Roles and Responsibilities: Ensure post holders are appropriately qualified and formally appointed Review job descriptions to ensure individual staff have clearly defined roles | Associate Director of Estates |  | End December 2015 |
|  | Statutory Requirements and Guidance: Undertake a review of all relevant Statutory requirements and guidance | Associate Director of Estates |  | End June 2015 |
|  | Introduce a standardised process to ensure risk assessments are undertaken and any necessary risk mitigation strategies are implemented Introduce a process to ensure a regular review is undertaken |  |  | End December 2015 |
|  | Maintenance, Record Keeping and Asset Register: Introduce a robust system to ensure all relevant records (maintenance manuals, procedures, test certificates, etc.) are available, up to date and stored in an appropriate manner | Associate Director of Estates |  | End December 2015 |
|  | Resilience, Emergency & Contingency Planning: Produce a Business Continuity Plan to cover the provision of all Estates Services | Associate Director of Estates |  | End September 2015 |
|  | Test Business Continuity Plan with Estates staff |  |  |  |
|  | Review Process: Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures | Associate Director of Estates |  | End December 2015 |

| SAQ | Action | Lead | Assessment Rating | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S4 | Safe and compliant with well-managed systems in respect of Catering Services |
|  | Resilience, Emergency & Contingency Planning: Update BCP to reflect findings from business continuity exercise | Associate Director of Facilities |  | End June 2015 |

| SAQ | Action | Lead | Assessment Rating | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S5 | Safe and compliant with well managed systems in relation to: Asbestos |
|  | Statutory Requirements and Guidance: Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures | Associate Director of Estates |  | End September 2015 |

| SAQ | Action | Lead | Assessment Rating | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S6 | Safe and compliant with well managed systems in relation to: Medical Gas Systems |
|  | Training: Documented up to date training plan in place covering all relevant roles and responsibilities of staff, that meets all safety and quality requirements Nursing staff to complete Medical Gas Training | Executive Director of Nursing |  | TBC |
|  | Resilience, Emergency & Contingency Planning: Produce a Business Continuity Plan to cover the provision of all Estates Services | Associate Director of Estates |  | End September 2015 |
|  | Test Business Continuity Plan with Estates staff |  |  |  |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S7 | Safe and compliant with well managed systems in relation to: Natural Gas and Other Non-Medical Piped Gas Systems |
|  | Policy and Procedures: Develop and implement Natural Gas and Other Non-Medical Piped Gas Systems Policy | Associate Director of Estates |  | End June 2015 |
|  | Develop and implement Procedures |  |  | End September 2015 |
|  | Roles and Responsibilities: Ensure an up to date training plan is in place covering all relevant roles and responsibilities of staff | Associate Director of Estates |  | End September 2015 |
|  | Building and Maintenance work: Where building and maintenance work impacts on existing systems ensure Risk assessments are undertaken and documented and stored in an appropriate and accessible manner | Associate Director of Estates |  | End September 2015 |
|  | Resilience, Emergency & Contingency Planning: Produce a Business Continuity Plan to cover the provision of all Estates Services | Associate Director of Estates |  | End September 2015 |
|  | Test Business Continuity Plan with Estates staff |  |  |  |
|  | Review Process: Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures | Associate Director of Estates |  | End December 2015 |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S8 | Safe and compliant with well managed systems in relation to: Water Systems |
|  | Building and Maintenance work: Where building and maintenance work impacts on existing systems ensure Risk assessments are undertaken and documented and stored in an appropriate and accessible manner | Associate Director of Estates |  | End September 2015 |
|  | Resilience, Emergency & Contingency Planning: Produce a Business Continuity Plan to cover the provision of all Estates Services | Associate Director of Estates |  | End September 2015 |
|  | Test Business Continuity Plan with Estates staff |  |  |  |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S9 | Safe and compliant with well-managed systems in relation to: Electrical Systems |
|  | Policy and Procedures: Develop and implement Electrical Systems Policy | Associate Director of Estates |  | End June 2015 |
|  | Statutory Requirements and Guidance: Introduce a standardised process to ensure risk assessments are undertaken and any necessary risk mitigation strategies are implemented Introduce a process to ensure a regular review is undertaken | Associate Director of Estates |  | End September 2015 |
|  | Building and Maintenance work: Where building and maintenance work impacts on existing systems ensure Risk assessments are undertaken and documented and stored in an appropriate and accessible manner | Associate Director of Estates |  | End September 2015 |
|  | Where building and maintenance work impacts on existing systems ensure a robust process is in place to ensure work is designed, undertaken and commissioned to the appropriate standards |  |  |  |
|  | Resilience, Emergency & Contingency Planning: Produce a Business Continuity Plan to cover the provision of all Estates Services | Associate Director of Estates |  | End September 2015 |
|  | Test Business Continuity Plan with Estates staff |  |  |  |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S10 | Safe and compliant with well-managed systems in relation to: Mechanical Systems e.g. Lifting Equipment |
|  | Policy and Procedures: Develop and implement Mechanical Systems e.g. Lifting Equipment Policy | Associate Director of Estates |  | End June 2015 |
|  | Roles and Responsibilities: Ensure post holders are appropriately qualified and formally appointed Review job descriptions to ensure individual staff have clearly defined roles | Associate Director of Estates |  | End September 2015 |
|  | Resilience, Emergency & Contingency Planning: Produce a Business Continuity Plan to cover the provision of all Estates Services | Associate Director of Estates |  | End September 2015 |
|  | Test Business Continuity Plan with Estates staff |  |  |  |
|  | Review Process: Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures | Associate Director of Estates |  | End December 2015 |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S11 | Safe and compliant with well-managed systems in relation to: Ventilation Systems |
|  | Statutory Requirements and Guidance: Introduce a standardised process to ensure risk assessments are undertaken and any necessary risk mitigation strategies are implemented Introduce a process to ensure a regular review is undertaken | Associate Director of Estates |  | End September 2015 |
|  | Building and Maintenance work: Where building and maintenance work impacts on existing systems ensure Risk assessments are undertaken and documented and stored in an appropriate and accessible manner | Associate Director of Estates |  | End September 2015 |
|  | Where building and maintenance work impacts on existing systems ensure a robust process is in place to ensure work is designed, undertaken and commissioned to the appropriate standards |  |  |  |
|  | Resilience, Emergency & Contingency Planning: Produce a Business Continuity Plan to cover the provision of all Estates Services | Associate Director of Estates |  | End September 2015 |
|  | Test Business Continuity Plan with Estates staff |  |  |  |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S12 | Safe and compliant with well-managed systems in relation to: Lifts |
|  | Policy and Procedures: Develop and implement Lifts Policy | Associate Director of Estates |  | End June 2015 |
|  | Roles and Responsibilities: Ensure post holders are appropriately qualified and formally appointed Review job descriptions to ensure individual staff have clearly defined roles | Associate Director of Estates |  | End September 2015 |
|  | Statutory Requirements and Guidance: Introduce a standardised process to ensure risk assessments are undertaken and any necessary risk mitigation strategies are implemented Introduce a process to ensure a regular review is undertaken | Associate Director of Estates |  | End September 2015 |
|  | Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures |  |  |  |
|  | Building and Maintenance work: Where building and maintenance work impacts on existing systems ensure Risk assessments are undertaken and documented and stored in an appropriate and accessible manner | Associate Director of Estates |  | End September 2015 |
|  | Where building and maintenance work impacts on existing systems ensure a robust process is in place to ensure work is designed, undertaken and commissioned to the appropriate standards |  |  |  |
|  | Resilience, Emergency & Contingency Planning: Produce a Business Continuity Plan to cover the provision of all Estates Services | Associate Director of Estates |  | End September 2015 |
|  | Test Business Continuity Plan with Estates staff |  |  |  |
|  | Review Process: Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures | Associate Director of Estates |  | End December 2015 |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S13 | Safe and compliant with well-managed systems in relation to: Pressure Systems |
|  | Policy and Procedures: Develop and implement Pressure Systems Policy | Associate Director of Estates |  | End June 2015 |
|  | Roles and Responsibilities: Ensure post holders are appropriately qualified and formally appointed Review job descriptions to ensure individual staff have clearly defined roles | Associate Director of Estates |  | End September 2015 |
|  | Training: Ensure appropriately qualified and formally appointed people are in posts in relation to Pressure systems | Associate Director of Estates |  | End September 2015 |
|  | Building and Maintenance work: Where building and maintenance work impacts on existing systems ensure Risk assessments are undertaken and documented and stored in an appropriate and accessible manner | Associate Director of Estates |  | End September 2015 |
|  | Where building and maintenance work impacts on existing systems ensure a robust process is in place to ensure work is designed, undertaken and commissioned to the appropriate standards |  |  |  |
|  | Resilience, Emergency & Contingency Planning: Produce a Business Continuity Plan to cover the provision of all Estates Services | Associate Director of Estates |  | End September 2015 |
|  | Test Business Continuity Plan with Estates staff |  |  |  |
|  | Review Process: Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures | Associate Director of Estates |  | End September 2016 |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S14 | Safe and compliant with well-managed systems in relation to: Decontamination Processes |
|  | Training: Ensure appropriately qualified and formally appointed people are in posts in relation to Decontamination Processes | S Morley |  | End September 2015 |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S18 | Safe and compliant with well-managed systems in relation to: Linen Services |
|  | Resilience, Emergency & Contingency Planning: Update BCP to reflect findings from business continuity exercise | Associate Director of Facilities |  | End September 2015 |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S19 | Safe and compliant with well-managed systems in relation to: Medical Devices and Equipment |
|  | Maintenance, Record Keeping and Asset Register: Ensure a process in in place adequately maintain assets, equipment and plant | Head of Clinical Engineering |  | End September 2015 |
|  | Introduce a robust system to ensure all relevant records (maintenance manuals, procedures, test certificates, etc.) are available, up to date and stored in an appropriate manner |  |  |  |
|  | Ensure an up to date asset register in place |  |  |  |
|  | Resilience, Emergency & Contingency Planning: Produce a Business Continuity Plan to cover the provision of Medical Devices and Equipment | Head of Clinical Engineering |  | End September 2015 |
|  | Test Business Continuity Plan with Clinical Engineering staff |  |  |  |
|  | Review Process: Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures | Head of Clinical Engineering |  | End September 2015 |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S20 | Safe and compliant with well-managed systems in relation to: Security Management |
|  | Resilience, Emergency & Contingency Planning: Receive Business Continuity Plan from new company to cover the provision of Security Services | Head of Non Clinical Risk Management |  | End May 2015 |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S21 | Safe and compliant with well-managed systems in relation to: Emergency and Contingency Planning |
|  | Policy and Procedures: Implement Emergency and Contingency Planning procedures | Trust Resilience Lead |  | These actions are to be monitored via the Trust Resilience Forum |
|  | Training: Appropriately qualified and formally appointed people with clear descriptions of their role and responsibility which are well understood | Trust Resilience Lead |  |  |
|  | Maintenance, Record Keeping and Asset Register: Ensure a process in in place adequately maintain assets, equipment and plant | Trust Resilience Lead |  |  |
|  | Up to date asset register in place |  |  |  |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S22 | Safe and compliant with well-managed systems in relation to: Transport |  |
|  | Policy and Procedures: Implement Transport Policy | Associate Director of Facilities |  | End March 2015 |
|  | Review operational procedures | Associate Director of Facilities |  | End April 2015 |
|  | Develop operational procedures | Associate Director of Estates Head of Clinical Engineering |  | End June 2015 |
|  | Introduce a robust system to ensure all relevant records (driver checks etc.) are available, up to date and stored in an appropriate manner | Associate Director of Estates Head of Clinical Engineering |  | End June 2015 |
|  | Review Process: Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures | Associate Director of Facilities/ Associate Director of Estates/ Head of Clinical Engineering |  | End December 2015 |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S25 | Safe and compliant with well-managed systems in relation to: Contractor Management |  |
|  | Policy and Procedures: Develop and implement Contractor Management Policy Develop operational procedures | Associate Director of Estates |  | End June 2015 |
|  | Roles and Responsibilities: Ensure post holders are appropriately qualified and formally appointed Review job descriptions to ensure individual staff have clearly defined roles | Associate Director of Estates |  | End September 2015 |
|  | Statutory Requirements and Guidance: Review of all relevant Statutory requirements and guidance | Associate Director of Estates |  | End September 2015 |
|  | Introduce a standardised process to ensure risk assessments are undertaken and any necessary risk mitigation strategies are implemented Introduce a process to ensure a regular review is undertaken |  |  |  |
|  | Maintenance, Record Keeping and Asset Register: Introduce a robust system to ensure all relevant records (maintenance manuals, procedures, test certificates, etc.) are available, up to date and stored in an appropriate manner | Associate Director of Estates |  | End September 2015 |
|  | Resilience, Emergency & Contingency Planning: Produce a Business Continuity Plan to cover the provision of all Estates Services | Associate Director of Estates |  | End September 2015 |
|  | Test Business Continuity Plan with Estates staff |  |  |  |

| SAQ | Action | Lead | Priority | Target Date for Completion |
| --- | --- | --- | --- | --- |
| S26 | Safe and compliant with well-managed systems in relation to: New Build and Refurbishment Works |
|  | Policy and Procedures: Develop and implement New Build and Refurbishment Works Policy | Associate Director of Estates |  | End June 2015 |
|  | Roles and Responsibilities: Ensure post holders are appropriately qualified and formally appointed Review job descriptions to ensure individual staff have clearly defined roles | Associate Director of Estates |  | End September 2015 |
|  | Statutory Requirements and Guidance: Undertake a review of all relevant Statutory requirements and guidance | Associate Director of Estates |  | End June 2015 |
|  | Introduce a standardised process to ensure risk assessments are undertaken and any necessary risk mitigation strategies are implemented Introduce a process to ensure a regular review is undertaken |  |  | End September 2015 |
|  | Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures |  |  |  |
|  | Building and Maintenance work: Where building and maintenance work impacts on existing systems ensure Risk assessments are undertaken and documented and stored in an appropriate and accessible manner | Associate Director of Estates |  | End September 2015 |
|  | Where building and maintenance work impacts on existing systems is Work designed, undertaken and commissioned to the appropriate standards |  |  |  |
|  | Resilience, Emergency & Contingency Planning: Produce a Business Continuity Plan to cover the provision of all Estates Services | Associate Director of Estates |  | End September 2015 |
|  | Test Business Continuity Plan with Estates staff |  |  |  |
|  | Review Process: Implement a robust annual review process to assure compliance and effectiveness of relevant standards, policies and procedures | Associate Director of Estates |  | End December 2015 |

# Text boxes

Example

Premises Assurance Model

2014/15 Assessment and

Action Plan

Prepared for the (insert meeting title)